## Main
Assembly | Description | Device Name | OPC UA address | Beckhoff AMS Net Id | Beckhoff AMS Port | ICD | ICD Date
ASC | AllSkyCamera | Auxiliary devices | opc.tcp://192.168.100.002:52521/OPCUA/ASTRI_ASC_Server |  |  | ICD_ASC_V10_2017_03_09 | 2014-06-30
Notes | last revision 18012016

## GET
Name of command | Device Name | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | EngGUI | OpGUI | Description
GET_ASC_WCLD | ASC | WCLD |  | ns=2;s=asc_wcld | int32 |  | 300 |  | 0 | 100 |  |  | % |  | 1 | 1 | yes | yes |  |  | percentage of coverage cloudy within predefined window
GET_ASC_WINDOW_DIM | ASC | WINDOW_DIM |  | ns=2;s=asc_window_dim | int32 |  | 300 | -1 |  |  |  |  | Degree |  | 1 | 1 | yes | yes |  |  | window dimension
GET_ASC_RA_WINDOW_COO | ASC | RA_WINDOW_COO |  | ns=2;s=asc_ra_window_coo | double |  | 300 | [5 empty] | Degree |  | 1 | 1 | yes | yes |  |  | window center ra coordinate
GET_ASC_DEC_WINDOW_COO | ASC | DEC_WINDOW_COO |  | ns=2;s=asc_dec_window_coo | double |  | 300 | [5 empty] | Degree |  | 1 | 1 | yes | yes |  |  | window center dec coordinate
GET_ASC_ACLD | ASC | ACLD |  | ns=2;s=asc_acld | int32 |  | 300 |  | 0 | 100 |  |  | % |  | 1 | 1 | yes | yes |  |  | percentage of coverage cloudy of the entire sky
GET_ASC_IMAGENAME | ASC | IMAGENAME |  | ns=2;s=asc_imagename | string |  | 300 | [7 empty] | 1 | 1 | yes | yes |  |  | processed image name in the format: AllSkyImage0000020132.FIT
GET_ASC_DATIME | ASC | DATIME |  | ns=2;s=asc_datime | string |  | 300 | [7 empty] | 1 | 1 | yes | yes |  |  | timestamp at which the ASC image has been processed. The format is: 'YYYYMMDDTHHMMSS' (20130223T234312)
GET_ASC_STATUS | ASC | STATUS |  | ns=2;s=asc_status | int32 |  | 300 |  | 0 | 99 |  |  |  |  | 1 | 1 | yes | yes |  |  | value that indicates the current status/error of the ASC device: 0 = no error - device ok 1 = file transfer error 2 = ...
GET_ASC_INPUTFNAME | ASC | INPUTFNAME |  | ns=2;s=asc_inputfname | string |  | 300 | FromASCFile.txt | [6 empty] | 1 | 1 | no | no |  |  | ASC input file name
GET_ASC_OUTPUTFNAME | ASC | OUTPUTFNAME |  | ns=2;s=asc_outputfname | string |  | 300 | ToASCFile.txt | [6 empty] | 1 | 1 | no | no |  |  | ASC output file name
GET_ASC_ERROR_NUMBER | ASC | ERROR_NUMBER |  | ns=2;s=asc_error_number | double |  | 5 | 0.0 | [6 empty] | 1 | 2 | yes | yes |  |  | The monitor reports the number of errors that has been occurred
GET_ASC_ERROR_INFORMATION | ASC | ERROR_INFORMATION |  | ns=2;s=asc_error_information | string |  | 5 | [7 empty] | 1 | 2 | yes | yes |  |  | The monitor reports the information about the required error. The format is (code,origin,class,timestamp) . Class filed 1: Alarm 2: Error 3:Warning . The timestamp is in UTC format. Origin and Code are available in a separate document.
GET_ASC_ERROR_RECOVERING | ASC | ERROR_RECOVERING |  | ns=2;s=asc_error_recovering | string |  | 5 | [7 empty] | 1 | 2 | yes | yes |  |  | The monitor shoasc the lists of error that has been occurred and recovered. (1:True,2:False,...). The False status means that the corresponding error has been recovered.
GET_ASC_ERROR_NUMBER_RECOVERED | ASC | ERROR_NUMBER_RECOVERED |  | ns=2;s=asc_error_number_recovered | double |  | 5 | 0.0 | [6 empty] | 1 | 2 | yes | yes |  |  | The monitor reports the number of errors that has been recovered
GET_ASC_ERROR_NUMBER_OUTOFRANGE | ASC | ERROR_NUMBER_OUTOFRANGE |  | ns=2;s=asc_error_number_outofrange | boolean |  | 5 | false | [6 empty] | 1 | 2 | yes | yes |  |  | The monitor reports the number of errors that has been recovered
GET_ASC_HEARTBEAT | ASC | HEARTBEAT |  | ns=2;s=asc_heartbeat | int32 |  | 1 | 0 | [6 empty] | 1 | 1 | yes | no |  |  | heartbeat (0-86400)

## SET
Name of command | Device Name | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) / ON CHANGE | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | EngGUI | OpGUI | Actor | Description
SET_ASC_RA | ASC | RA |  | ns=2;s=asc_ra | double |  |  | 37954 |  |  |  |  | degree |  | 1 | 1 | yes | yes |  |  | ALL | RAt value
SET_ASC_DEC | ASC | DEC |  | ns=2;s=asc_dec | double |  |  | 89264 |  |  |  |  | degree |  | 1 | 1 | yes | yes |  |  | ALL | Dec value
SET_ASC_WND | ASC | WND |  | ns=2;s=asc_wnd | double |  |  | 10.0 |  |  |  |  | degree |  | 1 | 1 | yes | yes |  |  | ALL | :size of the window of the sky to be analyzed
SET_ASC_DATAPATH | ASC | DATAPATH |  | ns=2;s=asc_datapath | string |  |  | /data1/ASC_DATA_SCP/request/ | [6 empty] | 1 | 1 | no | no |  |  | ALL | ASC data path

## CMD
Name of command | Actionee | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) / ON CHANGE | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | EngGUI | OpGUI | Actor | Description
CMD_ASC_EXEC | ASC | EXEC |  | ns=2;s=asc_exec | int16 | 1 |  | 0 |  |  |  |  | -- | ONLINE | 1 | 1 |  |  |  |  | ALL | Command to read ASC data on demand
CMD_ASC_UPDATESTOP | ASC | UPDATESTOP |  | ns=2;s=asc_updatestop | Int32 | 1 |  | -1 | [5 empty] | ONLINE | 1 | 1 |  |  |  |  | ALL | to stop the ASC data update
CMD_ASC_UPDATERESUME | ASC | UPDATERESUME |  | ns=2;s=asc_updateresume | Int32 | 1 |  | -1 | [5 empty] | ONLINE | 1 | 1 |  |  |  |  | ALL | to resume the ASC data update
CMD_ASC_SERVERSHUTDOWN | ASC | SERVERSHUTDOWN |  | ns=2;s=asc_servershutdown | Int16 | 1 |  | 0 | [5 empty] | ONLINE | 5 | 20 |  |  |  |  | ALL | Execute the ASC server shutdown if the value is set to 1
CMD_ASC_ERROR_INFO | ASC | ERROR_INFO |  | ns=2;s=asc_error_info | Int16 | 0 |  | 0 | [5 empty] | ONLINE | 1 | 1 |  |  |  |  | ALL | This command enables access to the information about the required error.
CMD_ASC_ERROR_RESET | ASC | ERROR_RESET |  | ns=2;s=asc_error_reset | boolean | TRUE |  | FALSE | [5 empty] | ONLINE | 1 | 1 |  |  |  |  | ALL | This command empties the error buffer and reset all the error informations recorded.

## MODE
Name of command | Actionee | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) / ON CHANGE | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | EngGUI | OpGUI | Actor | Description
MODE_ASC_GO_LOADED | ASC | GO_LOADED |  | ns=2;s=asc_state_transition | INT16 | 100 |  | 100 | [5 empty] | loaded | [6 empty] | ALL | loaded = no telemetry, no cmds
MODE_ASC_GO_ONLINE | ASC | GO_ONLINE |  | ns=2;s=asc_state_transition | INT16 | 102 |  | 100 | [5 empty] | online | [6 empty] | ALL | online = telemetry , cmds
MODE_ASC_GO_STANDBY | ASC | GO_STANDBY |  | ns=2;s=asc_state_transition | INT16 | 101 |  | 100 | [5 empty] | STANDBY | [6 empty] | ALL | standby = telemetry, no cmds

## Methods
Name of command | Device Name | MethodName | MethodName_NodeId | InputArgs | InputArgs_NodeId | OutArgs | OutArgs_NodeId | Description

## Notes
Date | Version | Actionee
2023-01-12 | V20 | changed to new ICD format