## Main
Assembly | Description | Device Name | OPC UA address | Beckhoff AMS Net Id | ICD | ICD Date | Component Name | discoveryServerUrl
SQM1 | Sky Quality Meter (SQM) opc-ua interface | SQM1 | opc.tcp://10.10.1.76:62750/OPCUA/AMA_SQM1_Server |  | ICD_SQM_V10_2017_03_09 | 2022-12-22 | SQMConnector1 | opc.tcp://10.10.1.75:48400
SQM2 | Sky Quality Meter (SQM) opc-ua interface | SQM2 | opc.tcp://10.10.1.76:62751/OPCUA/AMA_SQM2_Server |  | ICD_SQM_V10_2017_03_09 | 2022-12-23 | SQMConnector2 | opc.tcp://10.10.1.75:48400
SQM3 | Sky Quality Meter (SQM) opc-ua interface | SQM3 | opc.tcp://10.10.1.76:62752/OPCUA/AMA_SQM3_Server |  | ICD_SQM_V10_2017_03_09 | 2022-12-24 | SQMConnector3 | opc.tcp://10.10.1.75:48400

## GET
Name of command | Device Name | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | EngGUI | OpGUI | Description
GET_SQM_VAL | SQM | VAL |  | ns=2;s=sqm_val | Double |  | 10 |  | 0 | 99 |  |  | Mag/Sq Arcsec |  | 1 | 4 | yes | yes | Y |  | this command returns the value of the brightness of the sky corrected for temperature (SQMcorr = SQMrep − 0.042 + 2.12 × 10−3 × T); 0.00m = upperbrightness limit of the unit
GET_SQM_RAW_VAL | SQM | RAW_VAL |  | ns=2;s=sqm_raw_val | Double |  | 10 |  | 0 | 99 |  |  | Mag/Sq Arcsec |  | 1 | 4 | yes | yes | Y |  | this command returns the raw value of the brightness of the sky; 0.00m = upperbrightness limit of the unit
GET_SQM_FREQ | SQM | FREQ |  | ns=2;s=sqm_freq | Int32 |  | 10 |  | 0 | 99999 |  |  | Hz |  | 1 | 4 | yes | yes | Y |  | Frequency of sensor in Hz
GET_SQM_PERIOD_COUNTS | SQM | PERIOD_COUNTS |  | ns=2;s=sqm_period_counts | Int32 |  | 10 |  | 0 | 99999 |  |  |  |  | 1 | 4 | yes | yes | Y |  | Period of sensor in counts, counts occur at a rate of 460.8 kHz (14.7456MHz/32).
GET_SQM_PERIOD_SEC | SQM | PERIOD_SEC |  | ns=2;s=sqm_period_sec | Double |  | 10 |  | 0 | 99999 |  |  | Sec. |  | 1 | 4 | yes | yes | Y |  | Period of sensor in seconds with millisecond resolution
GET_SQM_TEMP | SQM | TEMP |  | ns=2;s=sqm_temp | Double |  | 10 |  | -99 | 99 |  |  | ^C |  | 1 | 4 | yes | yes | Y |  | Temperature measured at light sensor in Celsius degrees
GET_SQM_STATUS | SQM | STATUS |  | ns=2;s=sqm_status | Int32 |  | 10 |  | 0 | 99 |  |  |  |  | 1 | 4 | yes | yes | Y |  | this command returns a value that indicates the current status of the SQM: 0 = no error - device ok 1 = socket error 2 = host is NOT reachable 3 = connection failed 4 = string length error 5 = invalid string
GET_SQM_ERROR_NUMBER | SQM | ERROR_NUMBER |  | ns=2;s=sqm_error_number | int32 |  | 5 | 0 | [6 empty] | 1 | 2 | yes | yes | Y |  | The monitor reports the number of errors that has been occurred
GET_SQM_ERROR_INFORMATION | SQM | ERROR_INFORMATION |  | ns=2;s=sqm_error_information | string |  | 5 | [7 empty] | 1 | 2 | yes | yes | Y |  | The monitor reports the information about the required error. The format is (code,origin,class,timestamp) . Class filed 1: Alarm 2: Error 3:Warning . The timestamp is in UTC format. Origin and Code are available in a separate document.
GET_SQM_ERROR_RECOVERING | SQM | ERROR_RECOVERING |  | ns=2;s=sqm_error_recovering | string |  | 5 | [7 empty] | 1 | 2 | yes | yes | Y |  | The monitor shosqm the lists of error that has been occurred and recovered. (1:True,2:False,...). The False status means that the corresponding error has been recovered.
GET_SQM_ERROR_NUMBER_RECOVERED | SQM | ERROR_NUMBER_RECOVERED |  | ns=2;s=sqm_error_number_recovered | int32 |  | 5 | 0 | [6 empty] | 1 | 2 | yes | yes | Y |  | The monitor reports the number of errors that has been recovered
GET_SQM_ERROR_NUMBER_OUTOFRANGE | SQM | ERROR_NUMBER_OUTOFRANGE |  | ns=2;s=sqm_error_number_outofrange | boolean |  | 5 | false | [6 empty] | 1 | 2 | yes | yes | Y |  | The monitor reports the number of errors that has been recovered
GET_SQM_APP_NAME | SQM | APP_NAME |  | ns=2;s=serverApplicationName | String |  |  | AMA_WS_Server | [8 empty] | no | no | Y |  | Server Application Name
GET_SQM_OPCUA_PORT | SQM | OPCUA_PORT |  | ns=2;s=opcuaPort | Int32 |  |  | 52620 | [8 empty] | no | no | Y |  | Server Port no.
GET_SQM_WEB_PORT | SQM | WEB_PORT |  | ns=2;s=webPort | Int32 |  |  | 0 | [8 empty] | no | no | Y |  | Web Server Port no. (not used)
GET_SQM_APP_START_TIME | SQM | APP_START_TIME |  | ns=2;s=startTime | String | [11 empty] | yes | no | Y |  | Server run start time
GET_SQM_SERIAL_NUMBER | SQM | SERIAL_NUMBER |  | ns=2;s=serialNumber | String |  |  | WS1 | [8 empty] | no | no | Y |  | Serial Number
GET_SQM_ICD_FILE_NAME | SQM | ICD_FILE_NAME |  | ns=2;s=ICDName | String | [11 empty] | yes | no | Y |  | Table file name (not used)
GET_SQM_PROSYS_SDK_VERSION | SQM | PROSYS_SDK_VERSION |  | ns=2;s=prosysSdkVersion | String | [11 empty] | no | no | Y |  | Prosys SDK version
GET_SQM_CURRENT_SESSION_NUMBER | SQM | CURRENT_SESSION_NUMBER |  | ns=2;s=currentSessionNumber | INT32 | [11 empty] | no | no | Y |  | N0. of opcua clients connected
GET_SQM_SESSIONS_NAME | SQM | SESSIONS_NAME |  | ns=2;s=sessionsName | String[100] | [11 empty] | no | no | Y |  | sessions (clients) name
GET_SQM_RANDOM_GENERATOR_CODE | SQM | RANDOM_GENERATOR_CODE |  | ns=2;s=randomGeneratorCode | INT32 |  |  | 0 | [8 empty] | no | no | Y |  | not used
GET_SQM_VERBOSE_STATUS | SQM | VERBOSE_STATUS |  | ns=2;s=verboseStatus | boolean |  |  | true | [8 empty] | no | no | Y |  | verbose status
GET_SQM_HEARTBEAT | SQM | HEARTBEAT |  | ns=2;s=heartbeat | int32 |  | 1 | 0 | [6 empty] | 1 | 1 | no | no | Y |  | heartBeat
GET_SQM_DISCOVERI_SERVER_URL | SQM | DISCOVERI_SERVER_URL |  | ns=2;s=discoveryServer | String |  | 1 | opc.tcp://10.10.1.175:48440 | [6 empty] | 1 | 1 | no | no | Y |  | Discovery Server
GET_SQM_ISO_TIME_STAMP | SQM | ISO_TIME_STAMP |  | ns=2;s=sqm_isotstamp | String |  | 1 | [7 empty] | 1 | 1 | yes | yes | Y |  | Time stamp in ISO format
GET_SQM_PROPERTIES_FILE | SQM | PROPERTIES_FILE |  | ns=2;s=propertiesFile | String |  |  | sq1.properties | [8 empty] | yes | yes | Y |  | properties file name

## SET
Name of command | Device Name | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | EngGUI | OpGUI | Actor | Description
SET_SQM_NEWUPDATETIME | SQM | NEWUPDATETIME | Y | ns=2;s=sqm_newupdatetime | Int32 |  |  | 10 |  |  |  |  | sec |  | 1 | 1 |  |  | Y |  | ALL | Change the device update time (value >= 4)
SET_SQM_ERROR_INDEX | SQM | ERROR_INDEX | Y | ns=2;s=sqm_error_index | int32 |  |  | 0 | 0 | 9999 |  |  |  |  | 1 | 2 | no | no | Y | N | ALL | index of the retrieve error

## CMD
Name of command | Device Name | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | EngGUI | OpGUI | Actor | Description
CMD_SQM_EXEC | SQM | EXEC |  | ns=2;s=sqm_exec | Int32 | 1 |  | 0 |  |  |  |  | -- | ONLINE |  |  | Y |  | Y |  | ALL | Command to read SQM values on demand
CMD_SQM_UPDATESTOP | SQM | UPDATESTOP |  | ns=2;s=sqm_updatestop | Int32 | 1 |  | -1 | [5 empty] | ONLINE | 1 | 1 | Y |  | Y |  | ALL | to stop the SQM data update
CMD_SQM_UPDATERESUME | SQM | UPDATERESUME |  | ns=2;s=sqm_updateresume | Int32 | 1 |  | -1 | [5 empty] | ONLINE | 1 | 1 | Y |  | Y |  | ALL | to resume the SQM data update
CMD_SQM_SERVERSHUTDOWN | SQM | SERVERSHUTDOWN |  | ns=2;s=sqm_servershutdown | Int32 | 1 |  | 0 | [5 empty] | ONLINE | 5 | 10 | Y |  | Y |  | ALL | Execute the SQM server shutdown if the value is set to 1
CMD_SQM_ERROR_INFO | SQM | ERROR_INFO |  | ns=2;s=sqm_error_info | Int32 | 0 |  | 0 | [5 empty] | ONLINE | 1 | 1 | Y |  | Y |  | ALL | This command enables access to the information about the required error.
CMD_SQM_ERROR_RESET | SQM | ERROR_RESET |  | ns=2;s=sqm_error_reset | boolean | TRUE |  | FALSE | [5 empty] | ONLINE | 1 | 1 | Y |  | Y |  | ALL | This command empties the error buffer and reset all the error informations recorded.

## MODE
Name of command | Device Name | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | EngGUI | OpGUI | Actor | Description
MODE_SQM_GO_LOADED | SQM | GO_LOADED |  | ns=2;s=sqm_state_transition | INT32 | 100 |  | 0 | [5 empty] | STANDBY |  |  |  |  | Y |  | ALL | This mode activates all the procedures to bring to LOADED status.
MODE_SQM_GO_STANDBY | SQM | GO_STANDBY |  | sn=2;s=sqm_state_transition | INT32 | 101 |  | 0 | [5 empty] | ONLINE IDLE/LOADED |  |  |  |  | Y |  | ALL | This mode activates all the procedures to bring to STANDBY status.
MODE_SQM_GO_ONLINE | SQM | GO_ONLINE |  | ns=2;s=sqm_state_transition | INT32 | 102 |  | 0 | [5 empty] | STANDBY |  |  |  |  | Y |  | ALL | This mode activates all the procedures to bring to ONLINE status.

## Methods
Name of command | Device Name | MethodName | MethodName_NodeId | InputArgs | InputArgs_NodeId | OutArgs | OutArgs_NodeId | Description

## notes
Date | Version | Actionee
06-sep-2022 | V200 (2.00) | new ICD format
07-sep-2023 |  | add correction for temperature, add the new node ns=2;s=sqm_raw_val forraw values | SQMcorr = SQMrep − 0.042 + 2.12 × 10−3 × T
20-dec-2022 | V210 (2.10) | add file properties as args and add node ns=2;s=propertiesFile (GET)
20-dec-2023 | V210 (2.10) | Add SQM1, SQM2, SQM3 on Main form