## Main
Hardware Device
Assembly | Description | Device Name | OPC UA address | Beckhoff AMS Net Id | Beckhoff AMS Port | ICD | ICD Date | discoveryServerUrl
PMCDeviceConnector | Pointing Model Camera | Pointing Model Camera | opc.tcp://192.168.100.171:52650/OPCUA/AMA_PMC_Server |  |  | ASTRI….. | 2014-06-30 | opc.tcp://192.168.100.128:48400
Notes | last version 15/04/2021

## GET
Name of command | Actionee | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) / ON CHANGE | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | Description
GET_PMC_STATUS | PMC | STATUS |  | ns=2;s=pmc_status | int32 |  | 15 | 0 |  |  |  |  | -- | -- | 5 | 180 | yes | no | value that indicates the current status of the Pointer Model Camera (PMC) device: 0 = loaded 1 = standby 2 = online 3= busy 7 = fault
GET_PMC_ERROR | PMC | ERROR |  | ns=2;s=pmc_error | string |  | 15 | [5 empty] | -- | pmc_status = 4 | 5 | 180 | yes | yes | PMC internal error
GET_PMC_RAERR | PMC | RAERR |  | ns=2;s=pmc_raerr | double |  | 15 | [5 empty] | degree | pmc_status = 0 | 5 | 180 | yes | yes | RA error
GET_PMC_DECERR | PMC | DECERR |  | ns=2;s=pmc_decerr | double |  | 15 | [5 empty] | degree | pmc_status = 0 | 5 | 180 | yes | yes | Declination error
GET_PMC_AZERR | PMC | AZERR |  | ns=2;s=pmc_azerr | double |  | 15 | [5 empty] | degree | pmc_status = 0 | 5 | 180 | yes | yes | Azimut error
GET_PMC_ALTERR | PMC | ALTERR |  | ns=2;s=pmc_alterr | double |  | 15 | [5 empty] | degree | pmc_status = 0 | 5 | 180 | yes | yes | Elevation error
GET_PMC_RA | PMC | RA |  | ns=2;s=pmc_ra | double |  |  | 0 |  |  |  |  | degree | pmc_status = 0 | 60 | 180 | yes | yes | Right Ascension computed by the PMC
GET_PMC_DEC | PMC | DEC |  | ns=2;s=pmc_dec | double |  |  | 0 |  |  |  |  | degree | pmc_status = 0 | 60 | 180 | yes | yes | Declination computed by the PMC
GET_PMC_AZ | PMC | AZ |  | ns=2;s=pmc_az | double |  |  | 0 |  |  |  |  | degree | pmc_status = 0 | 60 | 180 | yes | yes | Azimut computed by the PMC
GET_PMC_ALT | PMC | ALT |  | ns=2;s=pmc_alt | double |  |  | 0 |  |  |  |  | degree | pmc_status = 0 | 60 | 180 | yes | yes | Elevation computed by the PMC
GET_PMC_GET_EXPTM | PMC | GET_EXPTM |  | ns=2;s=pmc_get_exptm | float |  |  | 3000 |  |  |  |  | msec | pmc_status = 0 | 60 | 180 | yes | yes | Image exposure time (millisec)
GET_PMC_GET_IMGXSIZE | PMC | GET_IMGXSIZE |  | ns=2;s=pmc_get_imgxsize | int32 |  |  | 1384 |  |  |  |  | pixel | pmc_status = 0 | 60 | 180 | yes | yes | CCD Image width
GET_PMC_GET_IMGYSIZE | PMC | GET_IMGYSIZE |  | ns=2;s=pmc_get_imgysize | int32 |  |  | 1032 |  |  |  |  | pixel | pmc_status = 0 | 60 | 180 | yes | yes | CCD Image heigth
GET_PMC_GET_IMGXOFFST | PMC | GET_IMGXOFFST |  | ns=2;s=pmc_get_imgxoffst | int32 |  |  | 0 |  |  |  |  | pixel | pmc_status = 0 | 60 | 180 | yes | yes | X offset CCD image
GET_PMC_GET_IMGYOFFST | PMC | GET_IMGYOFFST |  | ns=2;s=pmc_get_imgyoffst | int32 |  |  | 0 |  |  |  |  | pixel | pmc_status = 0 | 60 | 180 | yes | yes | Y offset CCD image
GET_PMC_GET_DIRPATH | PMC | GET_DIRPATH |  | ns=2;s=pmc_get_dirpath | string | [7 empty] | -- | pmc_status = 0 | 1 | 180 | yes | yes | set the image file name saved
GET_PMC_GET_FNAME | PMC | GET_FNAME |  | ns=2;s=pmc_get_fname | string | [7 empty] | -- | pmc_status = 0 | 1 | 180 | yes | yes | set the absolute path were to save the image file
GET_PMC_GET_GAIN | PMC | GET_GAIN |  | ns=2;s=pmc_get_gain | float |  |  | 1.0 |  |  |  |  | -- | pmc_status = 0 | 1 | 180 | yes | yes | set the value of the camera gain
GET_PMC_GET_IP | PMC | GET_IP |  | ns=2;s=pmc_get_ip | string |  |  | 192.168.100.155 |  |  |  |  | -- | pmc_status < 5 | 5 | 180 | yes | yes | IP address of camera
GET_PMC_GET_SUBMSK | PMC | GET_SUBMSK |  | ns=2;s=pmc_get_submsk | string |  |  | 255.255.255.0 |  |  |  |  | -- | pmc_status < 5 | 5 | 180 | yes | yes | Subnet mask of camera
GET_PMC_GET_GW | PMC | GET_GW |  | ns=2;s=pmc_get_gw | string |  |  | 192.168.100.254 |  |  |  |  | -- | pmc_status < 5 | 5 | 180 | yes | yes | Gateway of camera
GET_PMC_GET_AAN | PMC | GET_AAN |  | ns=2;s=pmc_get_aan | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_AAE | PMC | GET_AAE |  | ns=2;s=pmc_get_aae | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_NPAE | PMC | GET_NPAE |  | ns=2;s=pmc_get_npae | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_BNP | PMC | GET_BNP |  | ns=2;s=pmc_get_bnp | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_AES | PMC | GET_AES |  | ns=2;s=pmc_get_aes | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_AEC | PMC | GET_AEC |  | ns=2;s=pmc_get_aec | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_AOFS | PMC | GET_AOFS |  | ns=2;s=pmc_get_aofs | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_AEAN | PMC | GET_AEAN |  | ns=2;s=pmc_get_aean | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_EAE | PMC | GET_EAE |  | ns=2;s=pmc_get_eae | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_EEC | PMC | GET_EEC |  | ns=2;s=pmc_get_eec | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_EES | PMC | GET_EES |  | ns=2;s=pmc_get_ees | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_EOFS | PMC | GET_EOFS |  | ns=2;s=pmc_get_eofs | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_PAR13 | PMC | GET_PAR13 |  | ns=2;s=pmc_get_par13 | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_PAR14 | PMC | GET_PAR14 |  | ns=2;s=pmc_get_par14 | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_PAR15 | PMC | GET_PAR15 |  | ns=2;s=pmc_get_par15 | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_PAR16 | PMC | GET_PAR16 |  | ns=2;s=pmc_get_par16 | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_PAR17 | PMC | GET_PAR17 |  | ns=2;s=pmc_get_par17 | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_PAR18 | PMC | GET_PAR18 |  | ns=2;s=pmc_get_par18 | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_PAR19 | PMC | GET_PAR19 |  | ns=2;s=pmc_get_par19 | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_PAR20 | PMC | GET_PAR20 |  | ns=2;s=pmc_get_par20 | float |  |  | 0 |  |  |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | Internal PM parameter
GET_PMC_GET_FITSON | PMC | GET_FITSON |  | ns=2;s=pmc_get_fitson | boolean |  |  | true | [5 empty] | pmc_status < 5 | 1 | 180 | yes | yes | set a flag (if true) to save image in fits format
GET_PMC_GET_PNGON | PMC | GET_PNGON |  | ns=2;s=pmc_get_pngon | boolean |  |  | true | [5 empty] | pmc_status < 5 | 1 | 180 | yes |  | set a flag (if true) to save image in png format
GET_PMC_GET_ASTROMETRY_FNAME | PMC | GET_ASTROMETRY_FNAME |  | ns=2;s=pmc_get_astrometry_fname | string | [8 empty] | pmc_status = 0 | 1 | 180 | yes | yes | Astrometric file name
GET_PMC_GET_IS_REACHABLE | PMC | GET_IS_REACHABLE |  | ns=2;s=pmc_get_is_reachable | boolean |  |  | false | [5 empty] | pmc_status <5 | 1 | 5 | yes | yes | to notifie if the PMC is reachable fron PC
GET_PMC_ERROR_NUMBER | PMC | ERROR_NUMBER |  | ns=2;s=pmc_error_number | int32 |  | 5 | 0 | [6 empty] | 1 | 2 | yes | yes | The monitor reports the number of errors that has been occurred
GET_PMC_ERROR_INFORMATION | PMC | ERROR_INFORMATION |  | ns=2;s=pmc_error_information | string |  | 5 | [7 empty] | 1 | 2 | yes | yes | The monitor reports the information about the required error. The format is (code,origin,class,timestamp) . Class filed 1: Alarm 2: Error 3:Warning . The timestamp is in UTC format. Origin and Code are available in a separate document.
GET_PMC_ERROR_RECOVERING | PMC | ERROR_RECOVERING |  | ns=2;s=pmc_error_recovering | string |  | 5 | [7 empty] | 1 | 2 | yes | yes | The monitor shopmc the lists of error that has been occurred and recovered. (1:True,2:False,...). The False status means that the corresponding error has been recovered.
GET_PMC_ERROR_NUMBER_RECOVERED | PMC | ERROR_NUMBER_RECOVERED |  | ns=2;s=pmc_error_number_recovered | int32 |  | 5 | 0 | [6 empty] | 1 | 2 | yes | yes | The monitor reports the number of errors that has been recovered
GET_PMC_ERROR_NUMBER_OUTOFRANGE | PMC | ERROR_NUMBER_OUTOFRANGE |  | ns=2;s=pmc_error_number_outofrange | boolean |  | 5 | false | [6 empty] | 1 | 2 | yes | yes | The monitor reports the number of errors that has been recovered
GET_PMC_HEARTBEAT | PMC | HEARTBEAT |  | ns=2;s=heartbeat | int32 |  | 1 | 0 | [6 empty] | 1 | 1 | yes | no | heartbeat (0-86400)
GET_PMC_APP_NAME | PMC | APP_NAME |  | ns=2;s=serverApplicationName | String |  |  | AMA_PMC_Server | [8 empty] | yes | no | Server Application Name
GET_PMC_OPCUA_PORT | PMC | OPCUA_PORT |  | ns=2;s=opcuaPort | Int32 |  |  | 52650 | [8 empty] | yes | no | Server Port no.
GET_PMC_WEB_PORT | PMC | WEB_PORT |  | ns=2;s=webPort | Int32 |  |  | 0 | [8 empty] | yes | no | Web Server Port no. (not used)
GET_PMC_APP_START_TIME | PMC | APP_START_TIME |  | ns=2;s=startTime | String | [11 empty] | yes | no | Server run start time
GET_PMC_SERIAL_NUMBER | PMC | SERIAL_NUMBER |  | ns=2;s=serialNumber | String |  |  | PMC01 | [8 empty] | yes | no | Serial Number
GET_PMC_ICD_FILE_NAME | PMC | ICD_FILE_NAME |  | ns=2;s=ICDName | String |  |  | ICD_PMC_V17_2021_04_15.xlsx | [8 empty] | yes | no | Table file name (not used)
GET_PMC_PROSYS_SDK_VERSION | PMC | PROSYS_SDK_VERSION |  | ns=2;s=prosysSdkVersion | String | [11 empty] | yes | no | Prosys SDK version
GET_PMC_CURRENT_SESSION_NUMBER | PMC | CURRENT_SESSION_NUMBER |  | ns=2;s=currentSessionNumber | INT32 | [11 empty] | yes | no | N0. of opcua clients connected
GET_PMC_SESSIONS_NAME | PMC | SESSIONS_NAME |  | ns=2;s=sessionsName | String[100] | [11 empty] | yes | no | sessions (clients) name
GET_PMC_RANDOM_GENERATOR_CODE | PMC | RANDOM_GENERATOR_CODE |  | ns=2;s=randomGeneratorCode | INT32 |  |  | 0 | [8 empty] | yes | no | not used
GET_PMC_VERBOSE_STATUS | PMC | VERBOSE_STATUS |  | ns=2;s=verboseStatus | boolean |  |  | true | [8 empty] | yes | no | verbose status

## SET
Name of command | Actionee | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) / ON CHANGE | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | Actor | Description
SET_PMC_SET_RA | PMC | SET_RA |  | ns=2;s=pmc_set_ra | double | ra pointing |  | 0 | -24.0 | 24.0 |  |  | degree | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Right Ascension
SET_PMC_SET_DEC | PMC | SET_DEC |  | ns=2;s=pmc_set_dec | double | dec pointing |  | 0 | -360.0 | 360.0 |  |  | degree | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Declination
SET_PMC_SET_AZ | PMC | SET_AZ |  | ns=2;s=pmc_set_az | double | azimut pointing |  | 0 | -360 | 360 |  |  | degree | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Azimut
SET_PMC_SET_ALT | PMC | SET_ALT |  | ns=2;s=pmc_set_alt | double | elevation pointing |  | 0 | -180 | 180 |  |  | degree | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Elevation
SET_PMC_SET_UT | PMC | SET_UT |  | ns=2;s=pmc_set_ut | float |  |  | 0.0 | 0.0 | 24.0 |  |  | -- | pmc_status = 0 | 1 | 180 | yes | yes | ALL | UT from telescope controller
SET_PMC_SET_LST | PMC | SET_LST |  | ns=2;s=pmc_set_lst | float |  |  | 0.0 | 0.0 | 24.0 |  |  | -- | pmc_status = 0 | 1 | 180 | yes | yes | ALL | ST from telescope controller
SET_PMC_SET_EXPTM | PMC | SET_EXPTM |  | ns=2;s=pmc_set_exptm | float | exposure time |  | 30 | 30.0 | 3000.0 |  |  | msec | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Image exposure time (millisec 30 - t - 3000)
SET_PMC_SET_IMGXSIZE | PMC | SET_IMGXSIZE |  | ns=2;s=pmc_set_imgxsize | int32 | CCD image X size |  | 1384 | 0 | 9999 |  |  | pixel | pmc_status = 0 | 60 | 180 | yes | yes | ALL | CCD Image width
SET_PMC_SET_IMGYSIZE | PMC | SET_IMGYSIZE |  | ns=2;s=pmc_set_imgysize | int32 | CCD image Y size |  | 1032 | 0 | 9999 |  |  | pixel | pmc_status = 0 | 60 | 180 | yes | yes | ALL | CCD Image heigth
SET_PMC_SET_IMGXOFFST | PMC | SET_IMGXOFFST |  | ns=2;s=pmc_set_imgxoffst | int32 | CCD image X offset |  | 0 | 0 | 9999 |  |  | pixel | pmc_status = 0 | 60 | 180 | yes | yes | ALL | X offset CCD image
SET_PMC_SET_IMGYOFFST | PMC | SET_IMGYOFFST |  | ns=2;s=pmc_set_imgyoffst | int32 | CCD image Y offset |  | 0 | 0 | 9999 |  |  | pixel | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Y offset CCD image
SET_PMC_SET_DIRPATH | PMC | SET_DIRPATH |  | ns=2;s=pmc_set_dirpath | string | CCD image directotyPath | [6 empty] | -- | pmc_status = 0 | 1 | 180 | yes | yes | ALL | set the image file name saved
SET_PMC_SET_FNAME | PMC | SET_FNAME |  | ns=2;s=pmc_set_fname | string | CCD image name | [6 empty] | -- | pmc_status = 0 | 1 | 180 | yes | yes | ALL | set the absolute path were to save the image file
SET_PMC_SET_GAIN | PMC | SET_GAIN |  | ns=2;s=pmc_set_gain | float |  |  | 1.0 | 0.0 | 100.0 |  |  | -- | pmc_status = 0 | 1 | 180 | yes | yes | ALL | set the value of the camera gain
SET_PMC_SET_IP | PMC | SET_IP |  | ns=2;s=pmc_set_ip | string | IP CCD camera |  | 192.168.100.155 |  |  |  |  | -- | pmc_status < 5 | 5 | 180 | yes | yes | ALL | IP address of camera
SET_PMC_SET_SUBMSK | PMC | SET_SUBMSK |  | ns=2;s=pmc_set_submsk | string | Subnet CCD camera |  | 255.255.255.0 |  |  |  |  | -- | pmc_status < 5 | 5 | 180 | yes | yes | ALL | Subnet mask of camera
SET_PMC_SET_GW | PMC | SET_GW |  | ns=2;s=pmc_set_gw | string | Gateway CCD camera |  | 192.168.100.254 |  |  |  |  | -- | pmc_status < 5 | 5 | 180 | yes | yes | ALL | Gateway of camera
SET_PMC_SET_AAN | PMC | SET_AAN |  | ns=2;s=pmc_set_aan | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_AAE | PMC | SET_AAE |  | ns=2;s=pmc_set_aae | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_NPAE | PMC | SET_NPAE |  | ns=2;s=pmc_set_npae | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_BNP | PMC | SET_BNP |  | ns=2;s=pmc_set_bnp | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_AES | PMC | SET_AES |  | ns=2;s=pmc_set_aes | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_AEC | PMC | SET_AEC |  | ns=2;s=pmc_set_aec | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_AOFS | PMC | SET_AOFS |  | ns=2;s=pmc_set_aofs | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_AEAN | PMC | SET_AEAN |  | ns=2;s=pmc_set_aean | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_EAE | PMC | SET_EAE |  | ns=2;s=pmc_set_eae | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_EEC | PMC | SET_EEC |  | ns=2;s=pmc_set_eec | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_EES | PMC | SET_EES |  | ns=2;s=pmc_set_ees | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_SET_EOFS | PMC | SET_EOFS |  | ns=2;s=pmc_set_eofs | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_PAR13 | PMC | PAR13 |  | ns=2;s=pmc_set_par13 | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_PAR14 | PMC | PAR14 |  | ns=2;s=pmc_set_par14 | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_PAR15 | PMC | PAR15 |  | ns=2;s=pmc_set_par15 | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_PAR16 | PMC | PAR16 |  | ns=2;s=pmc_set_par16 | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_PAR17 | PMC | PAR17 |  | ns=2;s=pmc_set_par17 | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_PAR18 | PMC | PAR18 |  | ns=2;s=pmc_set_par18 | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_PAR19 | PMC | PAR19 |  | ns=2;s=pmc_set_par19 | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_PAR20 | PMC | PAR20 |  | ns=2;s=pmc_set_par20 | float |  |  | 0 | -9999.0 | 9999.0 |  |  | degrre | pmc_status = 0 | 60 | 180 | yes | yes | ALL | Internal PM parameter
SET_PMC_FITSON | PMC | FITSON |  | ns=2;s=pmc_set_fitson | boolean |  |  | true |  |  |  |  | --- | pmc_status < 5 | 1 | 180 | yes | yes | ALL | set a flag (if true) to save image in fits format
SET_PMC_PNGON | PMC | PNGON |  | ns=2;s=pmc_set_pngon | boolean |  |  | true |  |  |  |  | --- | pmc_status < 5 | 1 | 180 | yes |  | ALL | set a flag (if true) to save image in png format
SET_PMC_ASTROMETRY_ON_OFF | PMC | ASTROMETRY_ON_OFF |  | ns=2;s=pmc_astrometry_on_off | boolean |  |  | false |  |  |  |  | --- | pmc_status < 5 | 1 | 180 | yes | yes | ALL | set a flag (if true) to execute astrometry at the end of image acquisition
SET_PMC_CONTINOUS_MODE | PMC | CONTINOUS_MODE |  | ns=2;s=pmc_continous_mode | boolean |  |  | false |  |  |  |  | --- | pmc_status < 5 | 1 | 180 | yes | yes | ALL | set a flag (if true) to execute image acquisitions continous
SET_PMC_DELAY_BTWN_IMGS | PMC | DELAY_BTWN_IMGS |  | ns=2;s=pmc_delay_btwn_imgs | int32 |  |  | 0 | 0 | 9999 |  |  | sec | pmc_status = 0 | 1 | 180 | yes | yes | ALL | set a delay between two consecutive images
SET_PMC_ERROR_INDEX | PMC | ERROR_INDEX |  | ns=2;s=pmc_error_index | int32 |  |  | 0 | 0 | 9999 |  |  |  |  | 1 | 2 | no | no | ALL | index of the retrieve error
SET_PMC_IMAGE_NAME_TO_SEND | PMC | IMAGE_NAME_TO_SEND |  | ns=2;s=pmc_set_imagenametosend | String |  |  | ./ | [5 empty] | pmc_status = 0 | 5 | 60 | yes | yes | ALL | image path and file name to transfer to..
SET_PMC_CLIENT_PORT_NUMBER | PMC | CLIENT_PORT_NUMBER |  | ns=2;s=pmc_set_clientportnumber | int32 |  |  | 9999 | 0 | 65525 |  |  |  | pmc_status = 0 | 1 | 1 | yes | yes | ALL | port number for the socker server for file transfer

## CMD
Name of command | Actionee | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) / ON CHANGE | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | Actor | Description
CMD_PMC_RESTART | PMC | RESTART |  | ns=2;s=pmc_restart | int32 | 1 |  | 0 |  |  |  |  | -- |  | 5 | 180 | no | no | ALL | restart the pmc server program
CMD_PMC_QUIT | PMC | QUIT |  | ns=2;s=pmc_quit | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | stop the pmc server program
CMD_PMC_CLOSE | PMC | CLOSE |  | ns=2;s=pmc_close | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | Close server connection
CMD_PMC_CONNCCD | PMC | CONNCCD |  | ns=2;s=pmc_connccd | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | connect to CCD camera
CMD_PMC_DISCCCD | PMC | DISCCCD |  | ns=2;s=pmc_discccd | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | Disconnect CCD camera
CMD_PMC_IMAGE | PMC | IMAGE |  | ns=2;s=pmc_image | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 20 | 180 | no | no | ALL | Shot an image
CMD_PMC_RESETCCD | PMC | RESETCCD |  | ns=2;s=pmc_resetccd | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | reset ccd parameter to defailt
CMD_PMC_SETTELCOO | PMC | SETTELCOO |  | ns=2;s=pmc_settelcoo | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | command used to send all telescope coordinates (AZ,ALT,RA,DEC) , UT and LST to the pmc serer
CMD_PMC_GETTELCOO | PMC | GETTELCOO |  | ns=2;s=pmc_gettelcoo | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | command used to get the coordinates (AZ,ALT,RA,DEC) , UT and LST setted to the pmc server
CMD_PMC_SRVINIT | PMC | SRVINIT |  | ns=2;s=pmc_srvinit | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | init the camera server variables
CMD_PMC_CCDPREPARE | PMC | CCDPREPARE |  | ns=2;s=pmc_ccdprepare | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | set ccd params
CMD_PMC_DIRINIT | PMC | DIRINIT |  | ns=2;s=pmc_dirinit | int32 | 1 |  | 0 |  |  |  |  | -- | pmc_status = 0 | 5 | 180 | no | no | ALL | init delault directory for output
CMD_PMC_ERROR_INFO | PMC | ERROR_INFO |  | ns=2;s=pmc_error_info | int32 | 1 |  | 0 | [5 empty] | ONLINE | 1 | 1 | no | no | ALL | This command enables access to the information about the required error.
CMD_PMC_ERROR_RESET | PMC | ERROR_RESET |  | ns=2;s=pmc_error_reset | boolean | TRUE |  | FALSE | [5 empty] | ONLINE | 1 | 1 | no | no | ALL | This command empties the error buffer and reset all the error informations recorded.
CMD_PMC_SIM_ON | PMC | SIM_ON |  | ns=2;s=pmc_simul | int32 | 1 |  | 0 | [5 empty] | ONLINE | 1 | 1 | no | no | ENG | to start the simulation mode
CMD_PMC_SIM_OFF | PMC | SIM_OFF |  | ns=2;s=pmc_simul | int32 | 0 |  | 0 | [5 empty] | ONLINE | 1 | 1 | no | no | ENG | to stop the simulation mode
CMD_PMC_UPDATE | PMC | UPDATE |  | ns=2;s=pmc_update | int32 | 1 |  | 0 |  |  |  |  | -- |  | 5 | 1 | no | no | ALL | telemetry audate on demand
CMD_PMC_GETSTATUS | PMC | GETSTATUS |  | ns=2;s=pmc_getstatus | int32 | 1 |  | 0 |  |  |  |  | -- |  | 5 | 1 | no | no | ALL | read the pmc status on demand
CMD_PMC_SEND_IMAGE | PMC | SEND_IMAGE |  | ns=2;s=pmc_sendimage | int32 | 1 |  | 0 |  |  |  |  | -- |  | 5 | 1 | no | no | ALL | read the pmc status on demand

## MODE
Name of command | Actionee | Short name | ADS variable | OPC_UA node | OPC UA Data type | CMD/MODE value | Sampling Interval (s) / ON CHANGE | Default value | Alarm low | Alarm high | Withdraw alarm low | Withdraw alarm high | Unit | Operation modes | Expected execution time (s) | Maximum execution time (s) | IsMonitored | IsArchived | Actor | Description
MODE_PMC_GO_LOADED | PMC | GO_LOADED |  | ns=2;s=pmc_state_transition | int32 | 100 |  | 0 | [5 empty] | LOADED |  |  |  |  | ALL | This mode activates all the procedures to bring the PMC in the LOADED status.
MODE_PMC_GO_STANDBY | PMC | GO_STANDBY |  | ns=2;s=pmc_state_transition | int32 | 101 |  | 0 | [5 empty] | STANDBY |  |  |  |  | ALL | This mode activates all the procedures to bring the PMC in the STANDBY status.
MODE_PMC_GO_ONLINE | PMC | GO_ONLINE |  | ns=2;s=pmc_state_transition | int32 | 102 |  | 0 | [5 empty] | ONLINE |  |  |  |  | ALL | This mode activates all the procedures to bring the PMC in the ONLINE status.

## Notes
Date | Version | Actionee
2021-04-15 | V17 (1.7) | add folder serverInfo containing the node
ns=2;s=serverApplicationName
ns=2;s=opcuaPort
ns=2;s=webPort
ns=2;s=startTime
ns=2;s=serialNumber
ns=2;s=fileNameTable
ns=2;s=prosysSdkVersion
ns=2;s=currentSessionNumber
ns=2;s=sessionsName
ns=2;s=randomGeneratorCode
ns=2;s=verboseStatus
ns=2;s=heartbeat
2021-04-16 | V17 (1.7) | Changed all int16 to int32
20May2021 |  | changed fron tablefilename to ICDName...
25May2021 | V18 (1.8) | new command to transfer file image to a client (ns=2;s=pmc_sendimage)
2021-11-10 | V18 (1.81) | new opcua node to inform if the PMC is reachable from the PC (ns=2;s=pmc_get_is_reachable)